## 1.CABLE
1 | CABLES | [7 empty] | Price per meter | Price per meter | Price per meter
Item # | OM | Description | Estimated quantity over | Indicate if your offer complies with technical requirements |  | Lead | Manufacturer & | Indicate how many meters per drum | Kleinmond | Hermanus | Gansbaai | Indicate Escalation type:
| stock |  | Contract |  |  | Time | Model / Type |  | Tender Price | Tender Price | Tender Price | ROE ®
| code |  | Period | Yes | No | (Weeks) |  |  | Excluding VAT | Excluding VAT | Excluding VAT | Industry (I) CPIX ©
1.1. | PVC insulated COPPER conductor ; PVC bedded SWA PVC sheathed; 600/1000 Volt cable to SANS 1507 (Specifications: Paragraph B 1)
All full drum MV cables to bear meter marking
1.1.1 | Stock 02C085 | 95 mm² x 4 core | 276
1.1.2 | Stock 02C082 | 70 mm² x 4 core | 1161
1.1.3 | Stock 02C035 | 25 mm² x 4 core | 1182
1.1.4 | Stock 02C039 | 16 mm² x 4 core | 1464
1.1.5 | Stock 02C015 | 16 mm² x 2 core | 4551
1.1.6 | Stock G0103F05 | 16 mm² x 2 core + 2 core Stranded Pilot | 1491
1.1.7 | Stock 02C038 | 6 mm² x 2 core | 2900
1.1.8 | Stock 02C037 | 6 mm2 x 3 core | 3500
1.1.9 | Non Stock | 185 mm² x 4 core | 12
1.1.10 | Non Stock | 150 mm² x 4 core | 12
1.1.11 | Non Stock | 120 mm² x 4 core | 12
1.1.12 | Non Stock | 50 mm² x 4 core | 12
1.1.13 | Non Stock | 35 mm² x 4 core | 12
1.1.14 | Non Stock | 10 mm² x 4 core | 12
1.1.15 | Non Stock | 6 mm² x 4 core | 12
1.1.16 | Non Stock | 10 mm² x 2 core | 12
1.1.17 | Non Stock | 4 mm² x 2 core | 12
1.1.18 | Non Stock | 2,5 mm² x 2 core | 12
1.1.19 | Non Stock | 1,5 mm² x 2 core | 12
1.1.20 | Non Stock | 16 mm² x 4 core + 2 core Stranded Pilot | 12
1.2. | PVC insulated ALUMINIUM conductor; PVC bedded SWA PVC sheathed; 600/1000 Volt cable to SANS 1507 (Specifications: Paragraph B 1)
All full drum MV cables to bear meter marking
1.2.1 | Non Stock | 185 mm² x 4 core | 12
1.2.2 | Non Stock | 150 mm² x 4 core | 12
1.2.3 | Non Stock | 120 mm² x 4 core | 12
1.2.4 | Non Stock | 95 mm² x 4 core | 12
1.2.5 | Non Stock | 70 mm² x 4 core | 12
1.2.6 | Non Stock | 50 mm² x 4 core | 12
1.2.7 | Non Stock | 35 mm² x 4 core | 12
1.2.8 | Non Stock | 25 mm² x 4 core | 12
1.3. | Paper insulated COPPER conductor cable; PVC served 6,35/11KV table 19 ; PILC GSTA to SANS 97 (Specifications: Paragraph B 1)
All full drum MV cables to bear meter marking
1.3.1 | Non Stock | 185 mm² x 3 core | 12
1.3.2 | Non Stock | 120 mm² x 3 core | 12
1.3.3 | Non Stock | 95 mm² x 3 core | 12
1.3.4 | Non Stock | 70 mm² x 3 core | 12
1.3.5 | Non Stock | 35 mm² x 3 core | 12
1.3.6 | Non Stock | 25 mm² x 3 core | 12
All full drum MV cables to bear meter marking
1.4. | Paper insulated ALUMINIUM conductor cable; PVC served 6,35/11KV table 19 ; PILC GSTA to SANS 97 (Specifications: Paragraph B 1)
All full drum MV cables to bear meter marking
1.4.1 | Non Stock | 300 mm² x 3 core | 12
1.4.2 | Non Stock | 240 mm² x 3 core | 12
1.4.3 | Non Stock | 185 mm² x 3 core | 12
1.4.4 | Non Stock | 120 mm² x 3 core | 12
1.4.5 | Non Stock | 95 mm² x 3 core | 12
1.4.6 | Non Stock | 70 mm² x 3 core | 12
1.5. | INSULATED AERIAL CABLE
1.5.1 | Copper split concentric Airdac
All full drum MV cables to bear meter marking
1.5.1.1. | Stock 02C012 | 10 mm² copper split concentric Airdac plus stranded pilot cable | 2004
1.5.1.2. | Stock G0103F04 | 16 mm² copper split concentric Airdac plus stranded pilot cable | 1365
1.5.2 | XLPE-insulated ALUMINIUM ABC- conductor to SABS 1418 Part 1 and 2/1986 with core identification (LV)
1.5.2.1. | Non Stock | 3x120 + 54,6 + 25 mm² | 12
1.5.2.2 | Non Stock | 3x95 + 54,6 + 25 mm² | 12
1.5.2.3 | Non Stock | 3x70 + 54,6 + 25 mm² | 12
1.5.2.4 | Non Stock | 3x35 + 54,6 + 25 mm² | 12
1.6 | XLPE- insulated ALUMINIUM ABC- conductor to Sans 1713 and TYPE B 6.35/11KV with core identification (MV)
1.6.1 | Stock 02C200 | AL 70mm2 3C XLPE IS(0.15) PVC(UV) + HSSW 7/3.00mm PVC(UV) ABC SANS 1713 TYPE B 6.35/11kV | 12
1.6.2 | Non Stock | AL 120mm2 3C XLPE IS(0.15) PVC(UV) + HSSW 7/3.60mm PVC(UV) ABC SANS 1713 TYPE B 6.35/11kV | 12
1.6.3 | Non Stock | AL 95mm2 3C XLPE IS(0.15) PVC(UV) + HSSW 7/3.00mm PVC(UV) ABC SANS 1713 TYPE B 6.35/11kV | 12
1.6.4 | Non Stock | AL 35mm2 3C XLPE IS(0.15) PVC(UV) + HSSW 7/3.00mm PVC(UV) ABC SANS 1713 TYPE B 6.35/11kV | 12
1.7 | CABLE – GENERAL
1.7.1 | Stock 02C002 | End Caps: 16mm(LXAC116) | 85
1.7.2 | Stock 02B035 | END CAPS: 55-25mm | 63
1.7.3 | Stock 02B036 | End Caps: 75-32mm | 36
1.7.4 | Stock 02C037 | End Caps:100-45mm
1.7.5 | Stock G0101B05 | End Connectors & Sleeves: No.2 | 1326
1.7.6 | Stock 02B029 | Heat Shrink Boot: 16mm 3 core | 27
1.7.7 | Stock 02B028 | Heat Shrink Boot: 16mm Single Phase | 9
1.7.8 | Stock 02B032 | Heat Shrink Boot: 35- 95mm 3 Core | 45
1.7.9 | Stock 02C110 | Insulation Piercing Connectors: 6-35mm (TTD151F) | 165
1.7.10 | Stock 02C111 | Insulation Piercing Connectors:25-95mm (TTD201F) | 231
1.7.11 | Stock 02B033 | Heat Shrink Boot: 70-120mm 3 Phase | 3

## 2.METERS
2 | METERS | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
2.1 | ENERMAX METERS (Specifications Par. B 2.)
2.1.1 | Stock 02M010 | Meter: Enermax + Meter E+MA-153000110V, 3 Wire (Enermax” or compatible) | 9
2.1.2 | Stock 02M009 | Meter: Enermax + Meter E+MA-454000 220V / 400V, 4 Wire(“Enermax” or compatible) | 87
2.1.3 | Stock 02M060 | Meter: Expansion Module: E+EA-GPRS 04 with RS485 and GSM / GPRS. Under-glass to fit Enermax plus meter version 50V228 (Enermax” or compatible) | 100
2.1.4 | Non Stock | A1700 Bulk Meter: 57.5 - 240V (3 Phase 4 Wire) Complete With Antenna (Elster Or Compatible)
2.1.5 | Non Stock | A1700 Bulk Meter: 100 - 415V (3 Phase 3 Wire) Complete With Antenna (Elster Or Compatible)
2.2 | MRF METERS (Specifications Par. B 3.)
2.2.1 | Stock 02M046 | Multi frequency Single Phase Split DIN-Rail mounted PLC Prepayment meter – MCU (Itron or Compatible) | 650
2.2.2 | Stock 02M045 | ACE 9000 PLC CIU Standard, Common Base Keypad (Itron or compatible)
2.2.3 | Stock 02M047 | ACE 9000 PLC CIU Stand-alone, Keypad (Itron or compatible)
2.2.4 | Non Stock | ACE 9000 PLC CIU Relay Keypad (Itron or compatible)
2.3 | RF METERS (Specifications Par. B 4.)
2.3.1 | Stock 02M052 | Antenna: WMI (Part No 700028925108) | 165
2.3.2 | Non Stock | RFUIU (Wall base) (Conlog or Compatible)
2.3.3 | Non Stock | RF Data Concentrator Unit (Conlog or Compatible)
2.3.4 | Non Stock | RF Signal extender (Conlog or Compatible)
2.3.5 | Non Stock | RF Common base ED & ECU keypad (Conlog or Compatible)
2.3.6 | Non Stock | Split Meter: W BEC 44 (09) radio frequency
2.3.7 | Non Stock | Split Meter: WBEC 44 (10) Din rail , Measurement Control Unit ( MCU )
2.3.8 | Non Stock | Split Meter: BEC 62-Three phase radio frequency
2.3.9 | Stock 02M052 | Keypad: Wireless User Interface Unit (WUIU)
2.3.10 | Non Stock | Wireless Customer Interface unit Common Base Radio Frequency
2.4 | OTHER
2.4.1 | Stock 02M101 | Base For S/Phase Prepaid Compatible Meter | 852
2.4.2 | Stock 02M100 | Single phase prepayment meters STS compatible, common base | 1170
2.4.3 | Stock 02M005 | Three phase prepayment meters STS compatible, | 93
2.4.4 | Stock 02M002 | Meter: Conventional Single Phase Digital | 159
2.4.5 | Stock 02M001 | Meter: Conventional Three Phase 10(100) Digital | 81
2.4.6 | Stock 02M041 | Split Meter: Customer Interface Unit PLC 220-240V | 30
2.4.7 | Stock 02M040 | Split Meter: S/Phase Gemini EMU, PLC (10)80A CL 2 | 30
2.4.8 | Stock G02M050 | Three phase prepayment meters STS compatible, split (PLC) – 100 Amp
2.4.9 | Non Stock | Single phase digital 20/80 amp class 2 KWh meters
2.4.10 | Non Stock | Three phase digital 40/100 amp class 2 KWh meters
2.4.11 | Non Stock | Single phase prepayment meters STS compatible, split (pilot cable)
2.4.12 | Non Stock | Three ph. prepayment meters STS compatible, split (pilot cable)
2.4.13 | Non Stock | Single phase 80 A DIN rail mounted prepayment meters STS compatible, split (PLC)
2.4.14 | Non Stock | Single phase 80 A common base prepayment meters STS compatible, split (PLC)
2.4.15 | Non Stock | Meter: Single Phase Pre-Paid 20(80) Amp
2.4.16 | Non Stock | Customer Interface unit (PLC )
2.4.17 | Non Stock | Enermax Intelligent Device Manager (IDM)
METER SEALS REF (Specifications Par. B 4.11 & 4.12)
2.4.18 | Non Stock | Meter seals: Adjustable length plastic seal with very narrow tail and metal insert in locking chamber.
2.4.19 | Non Stock | Meter Seals: SP1-Yel Quick Seal, Yellow, Red & Blue

## 3.STREETLIGHT
3 | STREET LIGHTING LUMINAIRES TO SABS 1277 AND 1088 NB: BEKA COMPATIBLE | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
3.1 | Non Stock | 150W HPS Flat Glass Bottom Entry(Beka Or Compatible) Beka Strada 150w HPS-T BE9 (Specifications Par. B 5.1)
3.2 | Non Stock | 250W HPS Flat Glass Bottom Entry(Beka Or Compatible) Beka Strada 250w HPS-T BE (Specifications Par. B 5.1)
3.3 | Non Stock | 400W HPS Flat Glass Bottom Entry(Beka Or Compatible) Beka Strada 400w HPS-T BE (Specifications Par. B 5.1)
3.4 | Non Stock | 150W HPS Flat Glass Side Entry(Beka Or Compatible) Beka Strada 150w HPS-T SE (Specifications Par. B 5.1)
3.5 | Non Stock | 250W HPS Flat Glass Side Entry(Beka Or Compatible) Beka Strada 250w HPS-T SE (Specifications Par. B 5.1)
3.6 | Non Stock | 400W HPS Flat Glass Side Entry(Beka Or Compatible) Beka Strada 400w HPS-T SE (Specifications Par. B 5.1)
3.7 | Non Stock | 150W HPS STD Bottom Entry(Beka Or Compatible) Beka Strada 150w HPS-T BE (Specifications Par. B 5.1)
3.8 | Non Stock | 250W HPS STD Bottom Entry(Beka Or Compatible) Beka Strada 250w HPS-T BE (Specifications Par. B 5.2)
3.9 | Non Stock | 400W HPS STD Bottom Entry(Beka Or Compatible) Beka Strada 250w HPS-T BE (Specifications Par. B 5.2)
3.1 | Non Stock | 150W HPS STD Side Entry(Beka Or Compatible) Beka Strada 250w HPS-T SE (Specifications Par. B 5.2)
3.11 | Non Stock | 250W HPS STD Side Entry(Beka Or Compatible) Beka Strada 250w HPS-T SE (Specifications Par. B 5.2)
3.12 | Non Stock | 400W HPS STD Side Entry(Beka Or Compatible) Beka Strada 400w HPS-T SE (Specifications Par. B 5.2)
3.13 | Non Stock | “Beka Shine LED 43w (Beka or compatible) (Specifications Par. B 5.3)
3.14 | Non Stock | “Beka Shine 70w HPS-I (Beka or compatible) (Specifications Par. B 5.3)
3.15 | Non Stock | Beka LED Lume Maxi 96LED/156W (Beka or compatible) (Specifications Par. B 5.4)
3.16 | Non Stock | Beka LED Lume Maxi 128LED/300w (Beka or compatible) (Specifications Par. B 5.4)
3.17 | Non Stock | Beka LED Lume-mini 16/36wn 5117A1G (Beka or compatible) (Specifications Par. B 5.4)
3.18 | Non Stock | Spigot-SE 88x42x150x1 HDG, 15 Degree Rake ( Beka or compatible)
3.19 | Non Stock | Round Bottom Entry Post Top DMC Top Cover Beka Way 70w HPS-I (Specifications Par. B 5.5) (Beka Or Compatible)
3.2 | Non Stock | 70W HPS Bekalane Bottom Entry Bubble Glass (Beka Or Compatible) (Specifications Par. B 5.6)
3.21 | Non Stock | 125W MV Bekalane Bottom Entry Bubble Glass (Beka Or Compatible) (Specifications Par. B 5.6)
3.22 | Non Stock | 70W HPS Bekalane Side Entry Bubble Glass (Beka Or Compatible) (Specifications Par. B 5.6)
3.23 | Non Stock | 125W MV Bekalane Side Entry Bubble Glass (Beka Or Compatible) (Specifications Par. B 5.6)
3.24 | Non Stock | 70W HPS Bekalane Flat glass Bottom Entry (Beka Or Compatible) (Specifications Par. B 5.6)
3.25 | Non Stock | 70W HPS Bekalane Flat glass Side Entry (Beka Or Compatible) (Specifications Par. B 5.6)
3.26 | Non Stock | 150W HPS Bekalane Bottom Entry Bubble Glass (Beka Or Compatible) (Specifications Par. B 5.6)
3.27 | Non Stock | 150W HPS Bekalane Side Entry Bubble Glass (Beka Or Compatible) (Specifications Par. B 5.6)
3.28 | Non Stock | 6 Sided Bottom Entry Post Top(Beka Or Compatible) Beka Ray 70w HPS-I (Specifications Par. B 5.7)
3.29 | Non Stock | 6 Sided Bottom Entry Post Top(Beka Or Compatible) Beka Ray 125w MV (Specifications Par. B 5.7)
3.3 | Non Stock | 70W HPS Bekalux Side Entry (Specifications Par. B 5.8)
3.31 | Non Stock | 70W HPS Bekalux Bottom Entry (Specifications Par. B 5.8)
3.32 | Non Stock | 125W MV Bekalux Side Entry (Specifications Par. B 5.8)
3.33 | Non Stock | 125W MV Bekalux Bottom Entry (Specifications Par. B 5.8)

## 4.LIGHTFITTINGS
4 | LIGHT FITTINGS AND ACCESSORIES | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
4.1 | Non Stock | Acrylic art lighting cone art AA-BFH45-04 light fitting (Or Compatible) (Specifications Par. B 5.9)
4.2 | Non Stock | 4ft Fluorescent Single Open Fitting
4.3 | Non Stock | 4ft Fluorescent Double Open Fitting
4.4 | Non Stock | 5ft Fluorescent Single Open Fitting
4.5 | Non Stock | 5ft Fluorescent Single Open Fitting
4.6 | Non Stock | 4ft Decorative Fluorescent Double fitting
4.7 | Non Stock | 5ft Decorative Fluorescent Double fitting
Chokes
4.8 | Stock 02C001 | Choke: 70 Watt HPS (Small:110LX68WX 55H) Afcap or similar approved | 594
4.9 | Stock 02C006 | Choke: 80 Watt Mercury Vapour | 30
4.1 | Stock 02C003 | Choke: 125 Watt Mercury Vapour | 246
4.11 | Stock 02C005 | Choke: 250 Watt Mercury Vapour | 132
Daylight Switches
4.12 | Stock 02S009 | Daylight Switch: 16A National (NS216) (Or Compatible) | 1156
4.13 | Stock 02S010 | Daylight Switch: 18A Spectrum (MS18) (Or Compatible) | 171

## 5.ROPE LIGHT
5 | LIGHT FITTINGS AND ACCESSORIES | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
ROPE LIGHT STANDARD COLOURS
5.1 | Non Stock | 2 Wire Rope light Clear
5.2 | Non Stock | 2 Wire Rope light Red
5.3 | Non Stock | 2 Wire Rope light Yellow
5.4 | Non Stock | 2 Wire Rope light Blue
5.5 | Non Stock | 2 Wire Rope light Green
5.6 | Non Stock | 2 Wire Rope light Aqua Blue
5.7 | Non Stock | 2 Wire Rope light Hellfire
5.8 | Non Stock | 2 Wire Rope light Dark Grey
5.9 | Non Stock | 2 Wire Rope light Sakura Pink
5.1 | Non Stock | 2 Wire Rope light Orange
5.11 | Non Stock | 2 Wire Rope light Purple
5.12 | Non Stock | 2 Wire Rope light Fluorescent Green
5.13 | Non Stock | 2 Wire Rope light Fluorescent Orange
5.14 | Non Stock | 2 Wire Rope light Fluorescent Pink
5.15 | Non Stock | 3 Wire Rope light Clear
5.16 | Non Stock | 3 Wire Rope light Red
5.17 | Non Stock | 3 Wire Rope light Yellow
5.18 | Non Stock | 3 Wire Rope light Blue
5.19 | Non Stock | 3 Wire Rope light Green
5.2 | Non Stock | 3 Wire Rope light Aqua Blue
5.21 | Non Stock | 3 Wire Rope light Hellfire
5.22 | Non Stock | 3 Wire Rope light Dark Grey
5.23 | Non Stock | 3 Wire Rope light Sakura Pink
5.24 | Non Stock | 3 Wire Rope light Orange
5.25 | Non Stock | 3 Wire Rope light Purple
5.26 | Non Stock | 3 Wire Rope light Fluorescent Green
5.27 | Non Stock | 3 Wire Rope light Fluorescent Orange
5.28 | Non Stock | 3 Wire Rope light Fluorescent Pink
ROPE LIGHT
PEARL COLOURS
5.29 | Non Stock | 2 Wire Rope light White (pearl)
5.3 | Non Stock | 2 Wire Rope light Red
5.31 | Non Stock | 2 Wire Rope light Yellow
5.32 | Non Stock | 2 Wire Rope light Blue
5.33 | Non Stock | 2 Wire Rope light Green (Sea)
5.34 | Non Stock | 2 Wire Rope light Orange
5.35 | Non Stock | 2 Wire Rope light, Pink
5.36 | Non Stock | 3 Wire Rope light White (pearl)
5.37 | Non Stock | 3 Wire Rope light Red
5.38 | Non Stock | 3 Wire Rope light Yellow
5.39 | Non Stock | 3 Wire Rope light Blue
5.4 | Non Stock | 3 Wire Rope light Green (Sea)
5.41 | Non Stock | 3 Wire Rope light Orange
5.42 | Non Stock | 3 Wire Rope light, Pink
ROPE LIGHT
MULTI COLOUR
5.43 | Non Stock | 2 Wire Rope light Red
5.44 | Non Stock | 2 Wire Rope light, Green
5.45 | Non Stock | 2 Wire Rope light Blue
5.46 | Non Stock | 3 Wire Rope light Red
5.47 | Non Stock | 3 Wire Rope light Green
5.48 | Non Stock | 3 Wire Rope light Blue
Rope Light Controllers
5.49 | Non Stock | Wl5c- 6 Function Heavy Duty Controllers Loading length 100 m - 220/240 volt – 15 amp(or compatible)
5.5 | Non Stock | Wl310 – 13m X 3 Wire – 12 Meter Loading Length Mini Controllers 2 channel chasing movement Fast or slow moving setting 1.2 AMP(or compatible)
5.51 | Non Stock | WL-310-CF - MINI CONTROLLER FOR CHASING FLEXILIGHT (3-WIRE), 220V. FUNCTION: CHASING, SPEED ADJUSTABLE(or compatible)
5.52 | Non Stock | WL-3C - 8A CONTROLLER FOR CHASING FLEXILIGHT, 220V, 7-FUNCTION CHASING(or compatible)
5.53 | Non Stock | BI-310 - MINI-CONTROLLER FOR BI-COLOR CHAMELEON, 220V, FUNCTION: GRADUAL COLOR CHANGE, SPEED ADJUSTABLE(or compatible)
5.54 | Non Stock | WL-210 - MINI CONTROLLER FOR MINI FLEXILIGHT, 220V(or compatible)
5.55 | Non Stock | WL-310C - MINI CONTROLLER FOR CHASING FLEXILIGHT (3-WIRE), 220V, FUNCTION: CHASING, SPEED ADJUSTABLE(or compatible)
5.56 | Non Stock | WL-318-CF - MINI CONTROLLER FOR CHASING FLEXILIGHT, 220V, 16 FUNCTION(or compatible)
Flexi light Accessories
5.57 | Non Stock | M1&M2 - 2M BLACK POWER CORD WITH POWER CONNECTOR FOR MINI FLEXILIGHT. W/2 PINS- ROUND PLUG (or compatible)
5.58 | Non Stock | F1&F2 - 2M BLACK POWER CORD WITH POWER CONNECTOR FOR INSTANT FLEXILIGHT. W/2 PINS- ROUND PLUG(or compatible)
5.59 | Non Stock | C1&C2 - 2M BLACK POWER CORD WITH POWER CONNECTOR FOR CHASING FLEXILIGHT, W/2-PINS ROUND PLUG(or compatible)
5.6 | Non Stock | M2 - POWER CONNECTOR MINI FLEXILIGHT(or compatible)
5.61 | Non Stock | F2 - POWER CONNECTOR FOR INSTANT FLEXILIGHT(or compatible)
5.62 | Non Stock | C2 - POWER CONNECTOR FOR CHASING FLEXILIGHT(or compatible)
5.63 | Non Stock | M3 - SPLICE CONNECTOR FOR MINI FLEXILIGHT(or compatible)
5.64 | Non Stock | F3 - SPLICE CONNECTOR FOR INSTANT FLEXILIGHT(or compatible)
5.65 | Non Stock | C3 - SPLICE CONNECTOR FOR CHASING FLEXILIGHT(or compatible)
5.66 | Non Stock | M4 - END CAP FOR MINI FLEXILIGHT (100PCS = 1 PKT) (or compatible)
5.67 | Non Stock | F4 - END CAP FOR INSTANT FLEXILIGHT (100PCS = 1 PKT) (or compatible)
5.68 | Non Stock | C4 - END CAP FOR CHASING FLEXILIGHT (100PCS = 1PKT) (or compatible)
5.69 | Non Stock | M9 - EASY SPLICE CONNECTOR FOR MINI FLEXILIGHT(or compatible)
5.7 | Non Stock | F9 - EASY SPLICE CONNECTOR FOR INSTANT FLEXILIGHT(or compatible)
5.71 | Non Stock | C9 - EASY SPLICE CONNECTOR FOR CHASING FLEXILIGHT(or compatible)

## 6.LAMPS
6 | LAMPS - GENERAL | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
6.1 | Fluorescent Lamps
6.1.1 | Stock 02F081 | Fluorescent Tubes: 4FT (36w)
6.1.2 | Non Stock | Fluorescent Tubes: 5FT (58w)
6.2 | DISCHARGE LAMPS
6.2.1 | Mercury Vapour Lamps
6.2.1.1 | Stock 02G004 | 125 watt, 250 volt, ES | 2292
6.2.1.2 | Stock 02G006 | 250 watt, 250 volt, GES | 78
6.2.1.3 | Non Stock | 400 watt, 250 volt, GES
6.2.2 | High Pressure Sodium
6.2.2.1 | Stock 02G017 | 70 watt, Coated elliptic, ES with internal igniter | 2256
6.2.2.2 | Stock 02G005 | 250 watt, Coated elliptic, GES | 369
6.2.2.3 | Stock 02G001 | 400 watt, Coated elliptic, GES | 12
6.2.2.4 | Non Stock | 250 watt, Clear tubular, GES
6.2.2.5 | Non Stock | 400 watt, Clear tubular, GES
6.2.2.6 | Non Stock | 70 watt, Clear tubular, GES
6.2.2.7 | Non Stock | 150 watt Coated elliptic, GES
6.2.3 | Metal Halide
6.2.3.1 | Non Stock | 400 watt, Tubular without internal igniter
6.2.3.2 | Non Stock | 400 watt, Tubular with internal igniter
6.2.3.3 | Non Stock | 2000 watt, Tubular without internal igniter
6.2.3.4 | Non Stock | 2000 watt, Tubular with internal igniter
6.3 | LAMPS - GENERAL
6.3.1 | Stock G0102F22 | Globes: 16W 2D 2PIN | 12
6.3.2 | Stock 02G012 | Globes: 70W E/S Robot | 195
6.3.3 | Stock 02G010 | Globes: 80W Mercury (HPL-N) E27 | 393
6.3.4 | Stock K02G002B | Globes: 11W Energy Saver BC | 534
6.3.5 | Stock K02G002A | Globes: 11W Energy Saver ES | 249
6.3.6 | Stock G0101D02 | Globes: 60W ES | 114
6.3.7 | Stock G0101D08 | Globes: 70W NAVT Super | 255
6.3.8 | Stock G0101B06 | Globes: 100W B/C | 135
6.3.9 | Stock 02H001 | Halogen Lamp: 12V 55W H3 (OSRAM) | 150

## 7.MINISUBS
7 | MINIATURE SUB-STATION – NB: COPPER WINDING ONLY (Specifications Par. B 7) | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
7.1 | Stock 02M201 | 315A 11500/420V. Miniature Substation as per specification including LV circuit breakers | 6
7.2 | Stock 02M203 | 500 KVA 11500/420V. Miniature Substation as per specification including LV circuit breakers | 6
7.3 | Stock 02M204 | 630 KVA 11500/420V. Miniature Substation as per specification including LV circuit breakers | 6
7.4 | Stock 02M205 | 800 KVA 11500/420V. Miniature Substation as per specification including LV circuit breakers | 6
7.5 | Non Stock | 200 KVA 11500/420V. Miniature Substation as per specification including LV circuit breakers
7.6 | Non Stock | 400 KVA 11500/420V. Miniature Substation as per specification including LV circuit breakers
7.7 | Non Stock | 1000 KVA 11500/420V. Miniature Substation as per specification including LV circuit breaker.

## 8.PAINT MINISUB
8 | MINIATURE SUB-STATION – NB: COPPER WINDING ONLY (Specifications Par. B 7) | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
8.1 | Non Stock | Synlac Industrial Enamel SL5000 series Avocado green (Or Compatible)

## 9.POLE TX
9 | MINIATURE SUB-STATION – NB: COPPER WINDING ONLY (Specifications Par. B 7) | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
9.1 | Stock 02T300 | 25 KVA 11500/420V Pole mounted transformer | 3
9.1 | Stock 02T301 | 50 KVA 11500/420V Pole mounted transformer | 3
9.1 | Stock 02T031 | 200 KVA 11500/420V Transformer with enclosed LV Compartment – Pole Mounted (Specifications, Par. 6) | 6
9.1 | Non Stock | 100 KVA 11500/420V Pole mounted transformer
9.1 | Non Stock | 200 KVA 11500/420V Pole mounted transformer
9.1 | Non Stock | 25 KVA 11500/420V Pole mounted transformer
9.1 | Non Stock | 50 KVA 11500/420V Pole mounted transformer
9.1 | Non Stock | 100 KVA 11500/420V Pole mounted transformer
9.1 | Non Stock | 200 KVA 11500/420V Pole mounted transformer
9.1 | Non Stock | 200 KVA 11500/420V Transformer with enclosed LV Compartment – Pole Mounted

## 10.KIOSK
9 | KIOSK | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
9.1 | Polyethylene Kiosk (Specifications, Par. B 10.1)
9.1.1 | Stock 02K002 | 6 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible) | 48
9.1.2 | Stock 02K003 | 9 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible) | 48
9.1.3 | Stock 02K001 | 12 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible) | 24
9.1.4 | Non Stock | 2 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible)
9.1.5 | Non Stock | 4 Way double door kiosk with busbars. Must have integrated hinges (“Polybox” or Compatible)
9.2 | Polyethylene Kiosk (Pearly Beach) (Specifications, Par. B 10.2)
9.2.1 | Non Stock | 2 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible)
9.2.2 | Non Stock | 4 Way double door kiosk with busbars. Must have integrated hinges (“Polybox” or Compatible)
9.2.3 | Non Stock | 6 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible))
9.2.4 | Non Stock | 9 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible)
9.2.5 | Non Stock | 12 Way double door kiosk with busbars. Must have integrated hinges. (“Polybox” or Compatible)
9.2.6 | Non Stock | Key: Anti vandal Stainless Left-hand Thread
9.3 | Polyethylene Enclosures (Specifications, Par. B10.3)
9.3.1 | Stock 02K100 | AP1 Polyethylene, Pole Mount Enclosed / Stainless Steel Pole Mount Brackets / Mounting Board / Neutral Bar. | 12
9.3.2 | Non Stock | SMB2 polyethylene, Stainless steel pole mount brackets, one row din rail | 60

## 11.RMU
11 | 11 KV SF 6 RMU & METERING UNITS (Specifications Par. B 11.) | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
11.1 | Non Stock | SF6 RMU Circuit breakers for coastal areas (“SCHNEIDER” or “ABB” or Compatible)
11.2 | Non Stock | SF6 RMU Circuit breakers with metering unit for coastal areas (“SCHNEIDER” or “ABB” or Compatible)

## 12.STREETLIGHT POLS
12 | STREETLIGHT POLES | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
12.1 | Non Stock | 4.2m Steel Pole (Specifications Par. B 12.1)
12.2 | Non Stock | 5.7m Steel Pole (Specifications Par. B 12.1)
12.3 | Non Stock | 7.2m Steel Pole (Specifications Par. B 12.1)
12.4 | Non Stock | 10m Steel Pole (Specifications Par. B 12.1)
12.5 | Non Stock | 11.5m Steel Pole (Specifications Par. B 12.1)
12.6 | Non Stock | 4.5m Concrete Pole (Specifications Par. B 12.2)
12.7 | Non Stock | 7.2m Concrete Pole (Specifications Par. B 12.2)
12.8 | Non Stock | 3.6m Heavy Duty GRP Pole complete with Spigot, Baseplate, Glandplate and MCB 5A/5kA (“BEKA K18.76.30” or compatible)
12.9 | Non Stock | 4.5m Heavy Duty GRP Pole complete with Spigot, Baseplate, Glandplate and MCB 5A/5Ka (“BEKA K18.76.30” or compatible)
12.1 | Stock 02P025 | 9m Wooden Gum – Creosote Treated | 20

## 13.TERMS
13 | STREETLIGHT POLES | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
13.1 | MV HEAT SHRINK TERMINATIONS & JOINTS PILC GSTA 6.35/11 KV TABLE 19 CABLE (Specifications Par. B13.1)
13.1.1 | Stock 02T100 | 16mm² - 35mm² Heat Shrink Indoor 650mm² Termination with earth kid as per SANS 1332/2013 | 12
13.1.2 | Stock 02T101 | 50mm² - 95mm² Heat Shrink Indoor 650mm² Termination with earth kid as per SANS 1332/2013 | 25
13.1.3 | Stock 02T102 | 120mm² - 185mm² Heat Shrink Indoor 650mm² Termination with earth kid as per SANS 1332/2013 | 20
13.1.4 | Stock 02T200 | 16mm² - 35mm² Heat Shrink Outdoor 1200mm² Termination with earth kid as per SANS 1332/2013 | 20
13.1.5 | Stock 02T201 | 50mm² - 95mm² Heat Shrink Outdoor 1200mm² Termination with earth kid as per SANS 1332/2013 | 20
13.1.6 | Stock 02T202 | 120mm² - 185mm² Heat Shrink Outdoor 1200mm² Termination with earth kid as per SANS 1332/2013 | 20
13.1.7 | Stock 02J100 | 16mm² - 35mm² Heat Shrink Joint Outdoor 1200mm² Joint as per SANS 1332/2013 | 45
13.1.8 | Stock 02J101 | 50mm² - 95mm² Heat Shrink Joint Outdoor 1200mm² Joint as per SANS 1332/2013 | 45
13.1.9 | Stock 02J102 | 120mm² - 185mm² Heat Shrink Joint Outdoor 1200mm² Joint as per SANS 1332/2013 | 25
13.1.10 | Non Stock | 35mm² - 70mm² Heat Shrink Outdoor 650mm² Termination with earth kid as per SANS 1332/2013
13.1.11 | Non Stock | 95mm² - 120mm² Heat Shrink Outdoor 650mm² Termination with earth kid as per SANS 1332/2013
13.1.12 | Stock 02C013 | Cable Compound (12.7KG) | 12
132.2 | SINGLE CORE BUNDLE CONDUCTOR 11KV – JOINTS AND TERMINATIONS (Specifications Par. B13.1)
13.2.1 | Non Stock | Inline Joint: 16 – 35mm (SJXU 21A10) (Bundle conductor) PEX
13.2.2 | Non Stock | Inline Joint: 50 – 70mm (SJXU 22A10) (Bundle conductor) PEX
13.2.3 | Non Stock | Inline Joint: 95 – 150mm (SJXU 22R10) (Bundle conductor) PEX
13.2.4 | Non Stock | Single Core Termination: Outdoor 16 – 25mm; STXB 21R12 PEX
13.2.5 | Non Stock | Single Core Termination: Outdoor 35 – 70mm; STXB 22R12 PEX
13.2.6 | Non Stock | Single Core Termination: Outdoor 95 – 150mm; STXB 23R12
13.3 | LOW VOLTAGE HEAT SHRINK JOINTS (Specifications Par. B13.1)
13.3.1 | Non Stock | Heat Shrink Low Voltage Joint SJLA 4mm – 16mm
13.3.2 | Non Stock | Heat Shrink Low Voltage Joint SJLA 25mm – 50mm
13.3.3 | Non Stock | Heat Shrink Low Voltage Joint SJLA 70mm – 120mm
13.3.4 | Non Stock | Heat Shrink Low Voltage Joint SJLA 120mm – 240mm
13.4 | HEAT SHRINK JOINTS MV (Specifications Par. B13.1)
13.4.1 | Non Stock | Heat Shrink Joint 3 Core PILC (SJPA 21 A31)
13.4.2 | Non Stock | Heat Shrink Joint 3 Core PILC (SJPA 22 A31
13.4.3 | Non Stock | Heat Shrink Joint 3 Core PILC (SJPA 23 A31
13.4 | LOW VOLTAGE RESIN FILL CABLE JOINTS (Specifications Par. B13.2)
13.4.1 | Stock 02S001 | Joint Kit:P1 (91-A1) | 80
13.4.2 | Stock 02S002 | Joint Kit:P2 (91-A2) | 100
13.4.3 | Stock 02S003 | Joint Kit:P3 (91-A4) | 20
13.4.4 | Stock 02S006 | Joint Kit:P4 (91-A5) | 45
13.4.5 | Non Stock | Joint Kit:P0 (91-A0)
13.4.6 | Non Stock | Joint Kit:P2.5 (91-A3)
13.4.7 | Non Stock | Joint Kit:P3.5 (91-A4,5)
13.6 | CAST IRON JOINTS
13.6.1 | Stock 02J001 | Joint: 1001 Cast Iron Complete
13.6.2 | Stock 02J002 | Joint: 1002 Cast Iron Complete
13.6.3 | Stock 02J003 | Joint: 1003 Cast Iron Complete
HEAT SHRINK JOINT & TERMINATION ACCESSORIES
13.6.4 | Non Stock | 500g Threaded Gas Cartridge (CADAC Or similar Approved)
13.6.5 | Non Stock | Blow lamp to match 500g Gas canister

## 14.CBs
14 | CIRCUIT BREAKERS (Specifications Par. B 14) | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
14.1 | Non Stock | Circuit Breakers 100 Amp – J25S Hydraulic Magnetic (“CBI” or Compatible) Frame size 105x210mm
14.2 | Stock 02C071 | Circuit Breakers 125 Amp – J25S Hydraulic Magnetic (“CBI” or Compatible) Frame size 105x210mm | 2
14.3 | Stock 02C073 | Circuit Breakers 150 Amp – J25S Hydraulic Magnetic (“CBI” or Compatible) Frame size 105x210mm | 3
14.4 | Stock 02C074 | Circuit Breakers 200 Amp – J25S Hydraulic Magnetic (“CBI” or Compatible) Frame size 105x210mm | 2
14.5 | Stock 02C072 | Circuit Breakers 250 Amp – J25S Hydraulic Magnetic (“CBI” or Compatible) Frame size 105x210mm | 50
14.6 | Non Stock | Circuit Breakers 175 Amp – J25S Hydraulic Magnetic (“CBI” or Compatible) Frame size 105x210mm
14.7 | Non Stock | Circuit Breakers 225 Amp – J25S Hydraulic Magnetic (“CBI” or Compatible) Frame size 105x210mm
14.8 | Non Stock | Circuit Breakers 300 Amp – L25B Hydraulic Magnetic (“CBI” or compatible)
14.9 | Non Stock | Circuit Breakers 350 Amp – L25B Hydraulic Magnetic (“CBI” or compatible)
14.1 | Non Stock | Circuit Breakers 400 Amp – L25B Hydraulic Magnetic (“CBI” or compatible)
14.11 | Non Stock | Circuit Breakers 450 Amp – L25B Hydraulic Magnetic (“CBI” or compatible)
14.12 | Non Stock | Circuit Breakers 500 Amp – L25B Hydraulic Magnetic (“CBI” or compatible)
14.13 | Non Stock | Circuit Breakers 550 Amp – L25B Hydraulic Magnetic (“CBI” or compatible))
14.14 | Non Stock | Circuit Breakers 600 Amp – L25B Hydraulic Magnetic (“CBI” or compatible)
14.15 | Non Stock | Circuit Breaker Shroud Triple
14.16 | Stock 02C051 | Circuit Breaker: 3 Phase 20AMP Orange Toggle (3 X 26mm) | 12
14.17 | Stock 02C052 | Circuit Breaker: 3 Phase 30AMP Orange Toggle (3 X 26mm) | 12
14.18 | Stock 02C53 | Circuit Breaker: 3 Phase 40AMP Orange Toggle (3 X 26mm) | 12
14.19 | Stock 02C054 | Circuit Breaker: 3 Phase 50AMP Orange Toggle (3 X 26mm)
14.2 | Stock 02C055 | Circuit Breaker: 3 Phase 60AMP Orange Toggle (3 X 26mm) | 12
14.21 | Stock 02C056 | Circuit Breaker: 3 Phase 70AMP Orange Toggle (3 X 26mm) | 12
14.22 | Stock 02C057 | Circuit Breaker: 3 Phase 80AMP Orange Toggle (3 X 26mm) | 12
14.23 | Stock 02C058 | Circuit Breaker: 3 Phase 90AMP Orange Toggle (3 X 26mm) | 12
14.24 | Stock 02C059 | Circuit Breaker: 3 Phase 100AMP Orange Toggle (3 X 26mm) | 12
14.25 | Stock 02C045 | Circuit Breaker: S/ Phase 30AMP Orange Toggle (1 X 26mm) | 12
14.26 | Stock 02C047 | Circuit Breaker: S/ Phase 40AMP Orange Toggle (1 X 26mm) | 12
14.27 | Stock 02C048 | Circuit Breaker: S/ Phase 50AMP Orange Toggle (1 X 26mm)
14.28 | Stock 02C049 | Circuit Breaker: S/ Phase 63AMP Orange Toggle (1 X 26mm) | 200
14.29 | Stock 02C050 | Circuit Breaker: S/ Phase 70AMP Orange Toggle (1 X 26mm) | 12
14.3 | Stock 02C026 | Circuit Breaker: S/ Phase 80AMP Orange Toggle (1 X 26mm) | 1200
14.31 | Stock 02C028 | Circuit Breaker: S/ Phase 100AMP Orange Toggle (1 X 26mm) | 12
14.32 | Stock 02C007 | Circuit Breaker: SAM QA-1(13) 5AMP | 126
14.33 | Stock 02C041 | Circuit Breaker: SAM QA-1(13) 10AMP | 250
14.34 | Stock 02C043 | Circuit Breaker: SAM QA-1(13) 20AMP | 48
14.35 | Non Stock | Circuit Breaker: SAM QA-1(13) 40AMP
14.36 | Non Stock | Shrouds & Clips: Single Phase (SF1) (1 X 26mm) 25 – 60 Amp
14.37 | Non Stock | Shrouds & Clips: Single Phase (SF1) (1 X 26mm) 70 – 100 Amp
14.38 | Non Stock | Shrouds & Clips: Three Phase (SF1) (3 X26mm) 25 – 60 Amp
14.39 | Non Stock | Shrouds & Clips: Three Phase (SF1) (3 X26mm) 70 – 100 Amp
14.4 | Non Stock | Shrouds: No 2

## 15.FUSES
15 | FUSES | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
15.1 | Stock 02F100 | Striker Pin Fuse 36 Amp 254mm | 3
15.2 | Stock 02F101 | Striker Pin Fuse 45 Amp 254mm | 3
15.3 | Stock 02F099 | Striker Pin Fuse 31.5 Amp 254mm (“BUSSMAN” or similar) | 3
15.4 | Stock 02F102 | Striker Pin Fuse 63 Amp 254mm (“BUSSMAN” or similar) | 3
15.5 | Stock 02F103 | Striker Pin Fuse 80 Amp 254mm (“BUSSMAN” or similar) | 3
15.6 | Stock 02F104 | Striker Pin Fuse 100 Amp 254mm (“BUSSMAN” or similar) | 3
15.7 | Stock 02F200 | Striker Pin Fuse 36 Amp 360mm Long (“BUSSMAN” or similar) | 3
15.8 | Stock 02F201 | Striker Pin Fuse 45 Amp 360mm (“BUSSMAN” or similar) | 3
15.9 | Stock 02F015 | Striker Pin Fuse 50 Amp 360mm (“BUSSMAN” or similar) | 3
15.1 | Stock 02F202 | Striker Pin Fuse 63 Amp 360mm (“BUSSMAN” or similar) | 3
15.11 | Stock 02F203 | Striker Pin Fuse 80 Amp 360mm (“BUSSMAN” or similar) | 3
15.12 | Stock 02F204 | Striker Pin Fuse 90 Amp 360mm (“BUSSMAN” or similar) | 3
15.13 | Stock 02F205 | Striker Pin Fuse 100 Amp 360mm (“BUSSMAN” or similar) | 3
15.14 | Non Stock | Striker Pin Fuse 10 Amp 254mm (“BUSSMAN” or similar)
15.15 | Non Stock | Striker Pin Fuse 20 Amp 254mm (“BUSSMAN” or similar)
15.16 | Non Stock | Striker Pin Fuse 90 Amp 254mm (“BUSSMAN” or similar)
15.17 | Non Stock | Striker Pin Fuse 50 Amp - 50kA 80N Medium UN 17.5kV TDMEJ 50 Amp-34/7 – Size 550mm x 50mm x 45mm (“BUSSMAN” or similar)
15.18 | Non Stock | Fuse: 20 Amp 11 KV H.T
15.19 | Non Stock | Fuse: 100 Amp 12KV (120HFMA100)
15.2 | Non Stock | Fuselink: 1 Amp 12KV HRC
15.21 | Stock G0103F09 | Fuselink: 2 Amp K-Speed | 30
15.22 | Stock G0103F10 | Fuselink: 5 Amp Standard | 30
15.23 | Stock 02F069 | Fuselink: 6 Amp Type-K Standard | 30
15.24 | Stock 02F070 | Fuselink: 10 Amp Type-K Standard | 30
15.25 | Stock 02F071 | Fuselink: 15 Amp Type-K Standard | 30
15.26 | Stock 02F072 | Fuselink : 20 Amp Type-K Standard | 30
15.27 | Stock 02F073 | Fuselink : 30 Amp Type-K Standard | 30
15.28 | Stock 02F074 | Fuselink : 40 Amp Type-K Standard | 30
15.29 | Stock 02F075 | Fuselink : 50 Amp Type-K Standard | 30
15.3 | Stock 02F076 | Fuselink : 65 Amp Type-K Standard | 30
15.31 | Stock 02F077 | Fuselink : 80 Amp Type-K Standard | 10
15.32 | Stock 02F021 | Fuselink :100 0amp Type-K Standard | 10
15.33 | Non Stock | Fuses: 20 - 63 Amp 11KV
15.34 | Stock G0102B14 | Fuse: 20A KEBXO | 12
15.35 | Stock G0102F12 | Fuse: 36A KEBXO H.S | 12
15.36 | Stock G0102B15 | Fuse: 40A KEBXO | 12
15.37 | Stock G0102F13 | Fuse: 45A KEBXO H.S | 12
15.38 | Stock G0102B16 | Fuse: 63A KEBXO | 12
15.39 | Stock G0102F14 | Fuse: 80A KEBXO H.S | 12
15.4 | Stock G102F15 | Fuse: 90A KEBXO H.S | 12

## 16.CTs
16 | CURRENT TRANSFORMERS | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
16.1 | Non Stock | Current Transformer: 100/5 (32mm Ring) CL1
16.2 | Stock 02M011 | Current Transformer: 150/5 (32mm Ring) CL1 | 6
16.3 | Stock 02M012 | Current Transformer: 200/5 (32mm Ring) CL1
16.4 | Stock 02M013 | Current Transformer: 250/5 (32mm Ring) CL1 | 3
16.5 | Stock 02M031 | Current Transformer: 250/5 (36mm Ring) CL1 | 3
16.6 | Stock 02M014 | Current Transformer: 300/5 (36mm Ring) CL1 | 3
16.7 | Stock 02M015 | Current Transformer: 350/5 (36mm Ring) CL1
16.8 | Stock 02M016 | Current Transformer: 400/5 (36mm Ring) CL1
16.9 | Stock 02M018 | Current Transformer: 500/5 (65mm Ring )CL1
16.1 | Stock 02M019 | Current Transformer: 600/5 (65mm Ring) CL1
16.11 | Stock 02M020 | Current Transformer: 700/5 (65mm Ring) CL1
16.12 | Stock 02M021 | Current Transformer: 800/5 (65mm Ring) CL1
16.13 | Stock 02M022 | Current Transformer: 1000/5 (65mm Ring) CL1
16.14 | Stock 02M300 | Metering Test Block, Front connected 13way HTB001
16.15 | Non Stock | Metering Test Block, Rear connected

## 17.FERRULES SLEEVES
17 | LUGS & FERRULS | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
17.1 | Stock 02F034 | Crimping Ferrule: 2.5mm Copper | 27
17.2 | Non Stock | Crimping Ferrule: 4mm Copper | 2
17.3 | Stock 02F033 | Crimping Ferrule: 6mm Copper | 152
17.4 | Stock 02F095 | Crimping Ferrule: 10mm Copper | 135
17.5 | Stock 02F048 | Crimping Ferrule: 16mm Copper | 1412
17.6 | Stock 02F035 | Crimping Ferrule: 25mm Copper | 90
17.7 | Stock 02F036 | Crimping Ferrule: 35mm Copper | 83
17.8 | Stock 02F037 | Crimping Ferrule: 50mm Copper | 63
17.9 | Stock 02F038 | Crimping Ferrule: 70mm Copper | 114
17.1 | Stock 02F039 | Crimping Ferrule: 95mm Copper | 56
17.11 | Stock 02F040 | Crimping Ferrule:120mm Copper | 1
17.12 | Stock 02F041 | Crimping Ferrule:150mm Copper | 1
17.13 | Stock 02F042 | Crimping Ferrule:185mm Copper | 12
17.14 | Stock 02F043 | Crimping Ferrule:240mm Copper | 2
17.15 | Stock 02F044 | Crimping Ferrule:300mm Copper | 2
17.16 | Stock 02L070 | Crimping Lugs: 2.5X 4mm Copper | 2
17.17 | Stock 02L069 | Crimping Lugs: 2.5X 5mm Copper | 2
17.18 | Stock 02L068 | Crimping Lugs: 2.5X 6mm Copper | 160
17.19 | Stock 02L029 | Crimping Lugs: 2.5X 8mm Copper | 40
17.2 | Stock 02L067 | Crimping Lugs: 4X 5mm Copper
17.21 | Stock 02L066 | crimping lugs: 4X 6mm Copper
17.22 | Stock 02L065 | Crimping Lugs: 6X 5mm Copper | 20
17.23 | Stock 02L064 | Crimping Lugs: 6X 6mm Copper | 35
17.24 | Stock 02L063 | Crimping Lugs: 6X 8mm Copper | 30
17.25 | Stock 02L043 | Crimping Lugs: 6x10mm Copper | 40
17.26 | Stock 02L062 | Crimping Lugs: 10X 5mm Copper | 5
17.27 | Stock 02L044 | Crimping Lugs: 10X 6mm Copper | 5
17.28 | Stock 02L045 | Crimping Lugs: 10X 8mm Copper | 10
17.29 | Stock 02L046 | Crimping Lugs: 16X 6mm Copper | 488
17.3 | Stock 02L021 | Crimping Lugs: 16X 8mm Copper | 184
17.31 | Stock 02L017 | Crimping Lugs: 16x10mm Copper | 118
17.32 | Stock 02L049 | Crimping Lugs: 16x12mm Copper | 5
17.33 | Stock 02L050 | Crimping Lugs: 16x16mm Copper
17.34 | Stock 02L051 | Crimping Lugs: 25X 6mm Copper | 10
17.35 | Stock 02L013 | Crimping Lugs: 25X 8mm Copper | 80
17.36 | Stock 02L019 | Crimping Lugs: 25x10mm Copper | 65
17.37 | Stock 02L054 | Crimping Lugs: 25x12mm Copper | 4
17.38 | Stock 02L055 | Crimping Lugs: 25x16mm Copper | 3
17.39 | Stock 02L020 | Crimping Lugs: 35X 8mm Copper
17.4 | Stock 02L021 | Crimping Lugs: 35x10mm Copper | 30
17.41 | Stock 02L058 | Crimping Lugs: 35x12mm Copper | 33
17.42 | Stock 02L111 | Crimping Lugs: 35x16mm Copper | 10
17.43 | Stock 02L059 | Crimping Lugs: 50X 8mm Copper | 20
17.44 | Stock 02L023 | Crimping Lugs: 50x10mm Copper | 42
17.45 | Stock 02L061 | Crimping Lugs: 50x12mm Copper | 6
17.46 | Stock 02L024 | Crimping Lugs: 50x16mm Copper
17.47 | Stock 02L025 | Crimping Lugs: 70X 8mm Copper | 49
17.48 | Stock 02L026 | Crimping Lugs: 70x10mm Copper | 117
17.49 | Stock 02L027 | Crimping Lugs: 70x12mm Copper | 68
17.5 | Stock 02L028 | Crimping Lugs: 70x16mm Copper | 10
17.51 | Stock 02L030 | Crimping Lugs: 95X 8mm Copper | 21
17.52 | Stock 02L031 | Crimping Lugs: 95x10mm Copper | 34
17.53 | Stock 02L032 | Crimping Lugs: 95x12mm Copper | 46
17.54 | Stock 02L033 | Crimping Lugs: 95x20mm Copper | 3
17.55 | Stock 02L034 | Crimping Lugs:120X 8mm Copper | 1
17.56 | Stock 02L035 | Crimping Lugs:120x10mm Copper | 41
17.57 | Stock 02L036 | Crimping Lugs:120x12mm Copper | 13
17.58 | Stock 02L037 | Crimping Lugs:150x10mm Copper
17.59 | Stock 02L038 | Crimping Lugs:150x12mm Copper
17.6 | Stock 02L039 | Crimping Lugs:150x16mm Copper
17.61 | Stock 02L040 | Crimping Lugs:185x12mm Copper | 16
17.62 | Stock 02L041 | Crimping Lugs:240x12mm Copper
17.63 | Stock 02L042 | Crimping Lugs:300x16mm Copper
17.64 | Stock 02L083 | Crimping Lugs: 25mm x 10mm Aluminium
17.65 | Non Stock | Crimping Lugs: 25mm x 12mm Aluminium
17.66 | Stock 02L082 | Crimping Lugs: 35mm x 10mm Aluminium
17.67 | Stock 02L081 | Crimping Lugs: 35mm x 12mm Aluminium
17.68 | Stock 02L079 | Crimping Lugs: 50mm x 10mm Aluminium | 8
17.69 | Stock 02L078 | Crimping Lugs: 50mm x 12mm Aluminium
17.7 | Stock 02L077 | Crimping Lugs: 70mm x 10mm Aluminium | 2
17.71 | Stock 02L076 | Crimping Lugs: 70mm x 12mm Aluminium
17.72 | Stock 02L074 | Crimping Lugs: 95mm x 10mm Aluminium | 5
17.73 | 0 Stock 2L0073 | Crimping Lugs: 95mm x 12mm Aluminium
17.74 | Stock 02L072 | Crimping Lugs: 120mm x 12mm Aluminium | 1
17.75 | Stock 02L071 | Crimping Lugs: 150mm x 12mm Aluminium
17.76 | Non Stock | Crimping Lugs: 120mm x 10mm Aluminium
17.77 | Non Stock | Crimping Lugs: 150mm x 10mm Aluminium
17.78 | Non Stock | Crimping Lugs: 185mm x 12mm Aluminium
17.79 | Stock 02L084 | Crimping Lugs: 25mmx12mm Orange Bundle Conductor
17.8 | Stock 02L085 | Crimping Lugs: 35mmx12mm Red Bundle Conductor
17.81 | Stock 02L086 | Crimping Lugs: 50mmx12mm Yellow Bundle Conductor
17.82 | Stock 02L087 | Crimping Lugs: 70mmx12mm White Bundle Conductor
17.83 | Stock 02L088 | Crimping Lugs: 95mmx12mm Grey Bundle Conductor
17.84 | Stock 02F025 | Crimping Ferrule: 25mm Aluminium
17.85 | Stock 02F026 | Crimping Ferrule: 35mm Aluminium
17.86 | Stock 02F027 | Crimping Ferrule: 50mm Aluminium
17.87 | Stock 02F028 | Crimping Ferrule: 70mm Aluminium | 2
17.88 | Stock 02F029 | Crimping Ferrule: 95mm Aluminium | 2
17.89 | Stock 02F030 | Crimping Ferrule: 120mm Aluminium
17.9 | Stock 02F031 | Crimping Ferrule: 150mm Aluminium
17.91 | Stock 02F047 | Crimping Ferrule: 35-35mm Copper/Alum (Bi-Metal)
17.92 | Stock 02F046 | Crimping Ferrule: 50-50mm Copper/Alum (Bi-Metal)
17.93 | Stock 02F045 | Crimping Ferrule: 70-70mm Copper/Alum (Bi-Metal)
17.94 | Stock 02F088 | Crimping Ferrule: 95mmx95mmCopper/Alum (Bi-Metal)
17.95 | Stock 02F062 | Crimping Ferrule: 16mm Blue (MJPB)
17.96 | Stock 02F052 | Crimping Ferrule: 25mm Orange Bundle Conductor
17.97 | Stock 02F058 | Crimping Ferrule: 35mm Red Bundle Conductor | 6
17.98 | Stock 02F054 | Crimping Ferrule: 50mm Yellow Bundle Conductor
17.99 | Stock 02F055 | Crimping Ferrule: 70mm White Bundle Conductor
17.1 | Stock 02F056 | Crimping Ferrule: 95mm Grey Bundle Conductor
17.101 | Stock 02F092 | Crimping Ferrule: 54.6mm Neutral Bundle
17.102 | Non Stock | Crimping Lugs: 54.6mm Neutral Bundle
17.103 | Non Stock | Crimping Ferrule: 185mm Aluminium
17.104 | Stock 02F083 | Crimping Ferrule: 35mm Weak Back
17.105 | Stock 02F058 | Crimping Ferrule: 50mm Weak Back
17.106 | Stock 02F059 | Crimping Ferrule: 70mm Weak Back
17.107 | Stock 02F060 | Crimping Ferrule: 95mm Weak Back
17.108 | Stock 02F061 | Crimping Ferrule: 120mm Weak Back
17.109 | Non Stock | Shear off lug BLMT 25/95-13 & 17 (“Tank” or similar)
17.11 | Non Stock | Shear off lug BLMT 35/150-13 & 17 (“Tank” or similar)
17.111 | Non Stock | Shear off lug BLMT 95/240-13 & 17 (“Tank” or similar)
17.112 | Non Stock | Shear off lug BLMT 185/400-13 & 17 (“Tank” or similar)
17.113 | Non Stock | Shear off ferrule BSM25/95 (“Tank” or similar)
17.114 | Non Stock | Shear off ferrule BSM35/150 (“Tank” or similar)
17.115 | Non Stock | Shear off ferrule BSM95/240 (“Tank” or similar)
17.116 | Non Stock | Shear off ferrule BSM185/400 (“Tank” or similar)

## 18.INUSLATORS
18 | INSULATORS | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
18.1 | Silicone Insulators
18.1.1 | Non Stock | 6 DISC 480mm
18.1.2 | Non Stock | 7 DISC 620mm; 520mm
18.1.3 | Non Stock | 8 DISC 620mm; 490mm
18.1.4 | Non Stock | 8 DISC 620mm; 500mm
18.1.5 | Non Stock | 8 DISC 620mm; 620mm
18.2 | Porcelain Insulators
18.2.1 | Stock 02I010 | Porcelain; 22kV intermediate complete with pin, 4kN with creepage 31mm/kV
18.3 | Flexible Boot
18.3.1 | Non Stock | Boots: Flexible Elastomeric Insulating Bushing Boot 17.5KV - RCAB 4120 (46-70 mm)
18.3.2 | Non Stock | RCAB or RICS 3133 Flexible boot

## 19.GENERAL
19 | GENERAL | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
19.1 | Stock 02A002 | Airdac Strain Clamps for 10-16mm | 45
19.2 | Stock 02B004 | Band It Buckles: 12.7mm (100'S) | 15
19.3 | Stock 02B005 | Band It Strap: 12.5X0.7mmx30m | 33
19.4 | Stock 02T017 | Barrier Tape: 75mmx500mx50mic - Red / White | 30
19.5 | Stock G02T002 | Danger Tape: 300mmx60 MIC – Orange | 3
19.6 | Stock 02B041 | Bundle Tie Straps: 200mm – Black
19.7 | Stock K02T004 | Cable Ties:104mm x 2.5mm – Black | 1
19.8 | Stock K02T004A | Cable Ties:200mm x 4,7mm – Black | 5
19.9 | Stock K02T004B | Cable Ties:305mm x 4,7mm – Black | 7
19.1 | Stock 02C114 | Clamp: Dead End
19.11 | Stock 02C109 | Clamp: MV Gland
19.12 | Stock 02C113 | Contactor: 230V 50/60HZ Magnetic(RAB-35T10) Or Compatible | 30
19.13 | Stock G0102F05 | Dropout Fuse Unit Type 36MZL 11/22kV 100amp 7.2kA Interrupting 360mm creepage 150kV BIL Fuse cut-out, complete with fuse tube assembly and mounting bracket. (“KARG” or similar) | 36
19.14 | Stock 02E001 | Electro Flasher Unit: Model R1F 230V (“Omron” or Compatible) | 12
19.15 | Stock 02F022 | Fluorescent Ballast: 4FT | 1
19.16 | Stock 02F023 | Fluorescent Ballast: 5FT
19.17 | Stock 02F024 | Fluorescent Ballast: 6FT
19.18 | Stock 02F078 | Fluorescent Lamp Holder
19.19 | Stock K02S009 | Fluorescent starters (FSU) | 52
19.2 | Stock 02F081 | Fluorescent Tubes: 4FT (36w)
19.21 | Stock 02G023 | Glands & Shrouds: No 1 BW | 6
19.22 | Stock 02G020 | Glands & Shrouds: No. 2 BW | 2
19.23 | Stock 02G061 | Glands & Shrouds: No 3 BW
19.24 | Stock G0102B06 | Glands: No. 2 (PVC) | 3
19.25 | Stock G0103F06 | Gloves: Rubber – Various sizes 1100 Volt | 2
19.26 | Stock 02T014 | Insulation Tape: Black (+33) (“3M Scotch” or similar) (Specifications Par. B15.1) | 1000
19.27 | Stock 02T016 | Insulation Tape: Blue (No.35) (“3M Scotch” or similar) (Specifications Par. B15.2) | 450
19.28 | Stock G0102D12 | Insulation Tape: Green (No.35) (“3M Scotch” or similar) (Specifications Par. B15.2) | 20
19.29 | Stock 02T015 | Insulation Tape: Red (No.35) (“3M Scotch” or similar) (Specifications Par. B15.2) | 450
19.3 | Stock 02T003 | Insulation Tape: White (No.35) (“3M Scotch” or similar) (Specifications Par. B15.2) | 450
19.31 | Non Stock | Insulation Tape: Yellow (No.35) (“3M Scotch” or similar) (Specifications Par. B15.2) | 50
19.32 | Stock G0102C09 | K-Clamps: 16mm | 300
19.33 | Stock G0102C06 | K-Clamps: 20mm | 300
19.34 | Stock G0102C10 | K-Clamps: 32mm | 300
19.35 | Stock G0102C07 | K-Clamps: 40mm | 200
19.36 | Stock G0101E03 | Lightning Arrestors 11 KV | 9
19.37 | Stock 02L011 | Line Taps:16mm (mo.6) | 300
19.38 | Stock 02L010 | Line Taps: 25mm (mo 4) | 300
19.39 | Stock 02L008 | Line Taps: 35mm (mo 2) | 300
19.4 | Stock 02L006 | Line Taps: 50mm (mo 0) | 300
19.41 | Stock 02L009 | Line Taps: 70mm (mo 3/0) | 300
19.42 | Stock 02L007 | Line Taps: 100mm | 100
19.43 | Stock G0102C05 | Line Taps: 150mm (mo 5/8) | 100
19.44 | Stock 02P008 | Pigtail Bolts: M 16 X 380
19.45 | Stock 02A003 | Pigtail Screws | 50
19.46 | Stock 02P001 | Pipe: 110mm x 6m Plasduct | 420
19.47 | Stock G0102D02 | Plugtops: 16A White PVC | 6
19.48 | Stock 02C007 | Pole Bracket only: CS14
19.49 | Stock 02P003 | Pole Mount Box + Vert. Bracket SPB1 | 60
19.5 | Stock G0102B13 | Pole Top Make Offs Stay Wire Strand 7 X 4,00mm Green | 10
19.51 | Stock 02T001 | Rubber Tape: 34mm x 3.2mm x 1.6m (“Pratley” or similar) (Specifications Par. B 16.) | 300
19.52 | Non Stock | Rubber Tape: 25mm x 0.75mm x 9.15m (“Pratley” or similar) (Specifications Par. B 16.) | 120
19.53 | Non Stock | Airdac Suspension Plate
19.54 | Non Stock | Band It Buckles: 15.8mm (100'S)
19.55 | Non Stock | Band It Strap: 15.8X0.7Mmx30m
19.56 | Non Stock | Orange Barrier Netting – 1.2m x 30m
19.57 | Stock K02S001 | Saddles: 20mm Galvanized
19.58 | Stock K02S002 | Saddles: 40mm Galvanized
19.59 | Stock 02P031 | Saddles: PVC 20mm
19.6 | Stock G0102B11 | Solderless Earth Connection
19.61 | Stock 02B038 | Strain Clamp Bundle: LV Insulated Neutral
19.62 | Stock 02B039 | Suspension Assembly Bundle: Insulated Neutral
19.63 | Stock 02B040 | Suspension Clamp Bundle: LV Insulated Neutral
19.64 | Stock K02S001 | Switch: Earth Leakage 63A | 8
19.65 | Stock G0102B12 | Guy Grips – AL Green 1900mm
19.66 | Stock 02J006 | Wiping Metal S5 | 54
19.67 | Non Stock | Wooden Droppers (gum): ± 30mm x 1.2m – natural
19.68 | Non Stock | Cable Ties:104mm x 2.5mm – various colours
19.69 | Non Stock | Cable Ties:200mm x 4,7mm – various colours
19.7 | Non Stock | Cable Ties:305mm x 4,7mm – Various Colours
19.71 | Non Stock | Cable Ties:387mm x 7.6mm – Black
19.72 | Non Stock | Double sided GDA Tape 12mmx25m
19.73 | Non Stock | Double sided GDA Tape 18mmx25m
19.74 | Non Stock | Double sided GDA Tape 24mmx25m
19.75 | Non Stock | Fluorescent Tubes: 5FT (58w)
19.76 | Non Stock | Glands & Shrouds: No 5 BW
19.77 | Non Stock | Glands: No. 0 (PVC) | 12
19.78 | Non Stock | Glands: No. 1 (PVC)
19.79 | Non Stock | Gloves: Leather outer RGXSC-C – various sizes (“Regeltex” or similar)
19.8 | Non Stock | Rubber Gloves – Cotton inners – various sizes
19.81 | Non Stock | Trotec Troply Laminates (Graflux or similar ) White/red P206-206
19.82 | Non Stock | Trotec Troply Laminates (Graflux or similar) Blue/white M512
19.83 | Non Stock | Trotec Troply Laminates (Graflux or similar) Black/White SW019
19.84 | Non Stock | Trotec Troply Laminates (Graflux or similar) Yellow/black P744-206
19.85 | Non Stock | Miracle tool spray – Momar or similar (Specifications Par. B 17.) | 50
19.86 | Non Stock | Oil spill kit: One man splil kit (Specifications Par. B 18.1.) | 12
19.87 | Non Stock | Oil Cap (Specifications Par. B 18.2)
19.88 | Non Stock | Rootsorb 25 kg (Specifications Par. B 18.3) | 12
19.89 | Non Stock | TSW Asbestos Encapsulation (Specifications Par. B 18.4) | 12
19.9 | Non Stock | Orcasorb (Specifications Par. B 18.5)
19.91 | Stock K02P001 | Pipe: 40mm x 4m Conduit Bosal Galv.
19.92 | Non Stock | Stay Rod Adjustable M20x2.4m (Hot Dipped Galv)
19.93 | Non Stock | Base Plate 380x380x6mm (Hot Dipped Galv)
19.94 | Non Stock | Earth Leakage Shroud
19.95 | Stock G0103F08 | Wire:16mm Bare Copper (PLEASE PROVIDE A PRICE PER METER AND NOT PER KG.)
19.96 | Stock K02W001 | House Wire:16mm Black PVC (PLEASE PROVIDE A PRICE PER METER)
19.97 | Stock K02W002 | House Wire:16mm Red PVC (PLEASE PROVIDE A PRICE PER METER)
19.98 | Non Stock | House Wire:16mm Blue PVC (PLEASE PROVIDE A PRICE PER METER)
19.99 | Non Stock | House Wire:16mm White PV C(PLEASE PROVIDE A PRICE PER METER)
19.1 | Non Stock | House Wire:16mm Green/Yellow PVC (PLEASE PROVIDE A PRICE PER METER)
19.101 | Non Stock | House Wire: 1.5mm Red PVC (PLEASE PROVIDE A PRICE PER METER)
19.102 | Non Stock | House Wire: 1.5mm White PVC (PLEASE PROVIDE A PRICE PER METER)
19.103 | Non Stock | House Wire: 1.5mm Black PVC (PLEASE PROVIDE A PRICE PER METER)
19.104 | Non Stock | House Wire: 1.5mm Blue PVC (PLEASE PROVIDE A PRICE PER METER)
19.105 | Non Stock | House Wire: 1.5mm Green/Yellow PVC (PLEASE PROVIDE A PRICE PER METER)
19.106 | Non Stock | House Wire: 2.5mm Red PVC (PLEASE PROVIDE A PRICE PER METER)
19.107 | Non Stock | House Wire: 2.5mm White PVC (PLEASE PROVIDE A PRICE PER METER)
19.108 | Non Stock | House Wire: 2.5mm Black PVC (PLEASE PROVIDE A PRICE PER METER)
19.109 | Non Stock | House Wire: 2.5mm Blue PVC (PLEASE PROVIDE A PRICE PER METER)
19.11 | Non Stock | House Wire: 2.5mm Green/Yellow PVC (PLEASE PROVIDE A PRICE PER METER)
19.111 | Non Stock | Panel Wire: 2.5mm Red (PLEASE PROVIDE A PRICE PER METER)
19.112 | Non Stock | Panel Wire: 2.5mm Black (PLEASE PROVIDE A PRICE PER METER)
19.113 | Non Stock | Panel Wire: 2.5mm Blue (PLEASE PROVIDE A PRICE PER METER)
19.114 | Non Stock | Panel Wire: 2.5mm White (PLEASE PROVIDE A PRICE PER METER)
19.115 | Non Stock | Panel Wire: 2.5mm Green/Yellow (PLEASE PROVIDE A PRICE PER METER)
19.116 | Non Stock | Panel Wire: 2.5mm Brown (PLEASE PROVIDE A PRICE PER METER)
19.117 | Non Stock | Panel Wire: 2.5mm Grey (PLEASE PROVIDE A PRICE PER METER)
19.118 | Non Stock | Panel Wire: 2.5mm Orange (PLEASE PROVIDE A PRICE PER METER)
19.119 | Non Stock | Panel Wire: 2.5mm Pink (PLEASE PROVIDE A PRICE PER METER)
19.12 | Non Stock | Panel Wire: 2.5mm Purple (PLEASE PROVIDE A PRICE PER METER)
19.121 | Non Stock | Panel Wire: 2.5mm Yellow (PLEASE PROVIDE A PRICE PER METER)
19.122 | Non Stock | 1mm Twin And Earth (100m Roll)
19.123 | Non Stock | 2.5 X 2c White Surfix (100m Roll)
19.124 | Non Stock | 8.5 Flat Cable Clips
19.125 | Non Stock | 9mm Round Cable Clips
19.126 | Non Stock | Ready Boards with Light (“CBI” or similar)
19.127 | Non Stock | Guy Grips – AL Blue 1250mm
19.128 | Non Stock | Guy Grips – AL Yellow 920mm
19.129 | Non Stock | Guy Grips – AL Green 1100mm
19.13 | Non Stock | Double switch socket outlet, 4 x 4 WITH cover
19.131 | Non Stock | 1L 2X4 SWITCH COMPLETE WITH COVER
19.132 | Non Stock | 2L 2X4 SWITCH COMPLETE WITH COVER
19.133 | Non Stock | 3L 2X4 SWITCH COMPLETE WITH COVER
19.134 | Non Stock | 4L 2X4 SWITCH COMPLETE WITH COVER
19.135 | Non Stock | PVC Wonder box 2 x 4
19.136 | Non Stock | PVC Wonder box 4 x 4
19.137 | Non Stock | Connector Blocks 5 Amp
19.138 | Non Stock | Connector Blocks 10 Amp
19.139 | Non Stock | Connector Blocks 15 Amp

## 20.BATTERIES
20 | BATTERIES | [7 empty] | Each (Unit Price) | Each (Unit Price) | Each (Unit Price)
PLEASE PROVIDE A UNIT PRICE AND NOT A PRICE PER PACKET OR BOX
Item # | OM stock code | Description | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements |  | Lead Time | Manufacturer & Model / type | Indicate how many units per packet / box | Kleinmond Tender Price Excluding VAT | Hermanus Tender Price Excluding VAT | Gansbaai Tender Price Excluding VAT | Indicate Escalation type: ROE ( R ) Industry (I) CPIX (C)
|  |  |  | Yes | No
20.1 | Non Stock | Type AAA: Alkaline Coppertop Penlight Batteries (per pack of 4)
20.2 | Stock 44B002 | Type AA: Alkaline Coppertop Penlight Batteries (per pack of 4) | 1000
20.3 | Stock 44B003 | Type C: Alkaline Coppertop Medium Batteries (per pack of 2 | 30
20.4 | Stock 44B005 | Type D: Alkaline Coppertop Torch Batteries (per pack of 2) | 240
20.5 | Stock 44B004 | Type PM3: Alkaline Coppertop 9Volt Batteries | 150