## Sheet2
| OM Stock Code | Description |  |  |  |  | Each (Unit Price)
Item # 1 | METERS |  | Est. Qty. Over The Contract Period | Indicate if your offer complies with technical requirements Yes / No | Lead Time Weeks | Manufacturer & Model / Type | Kleinmond Tender Price Including Vat | Hermanus Tender Price Including Vat | Gansbaai Tender Price Including Vat
1.1. | MRF METERS (Specifications Par. B 1) |  |  | Please ensure that pricing below correspondes with the tender document
1.1.1 | Stock 02M046 | Multi radio frequency meter:E460 1phase DIN Rail PLC (MCA 1x0 x R xx) (Landis or equivalent) | 1650
1.1.2 | 02M050 | Multi radio frequency meter:E460 3phase G3-PLC (MMA 310 C A xx) (Landisor equivalent) | 60
1.1.3 | Stock 02M047 | Keypad: P160 PLC Customer Interface Unit (stand-alone) (Landis or equivalent) | 1650
1.2 | OTHER
1.2.1 | Non Stock | Enermax Intelligent Device Manager (IDM) | 1
1.2.2 | Non Stock | Meter seals: Adjustable length plastic seal with very narrow tail and metal insert in locking chamber. | 100
1.2.3 | Non Stock | Meter Seals: SP1-Yel Quick Seal, Yellow, Red & Blue | 100
1.2.4 | Stock 02M300 | Metering Test Block, Front connected 13way HTB001 | 10
1.2.5 | Non Stock | Metering Test Block, Rear connected | 2
Item # 2 | LIGHT FITTINGS AND ACCESSORIES
2.1. | Non Stock | Acrylic art lighting cone art AA-BFH45-04 | 10
light fitting (Or Compatible) (Specifications Par. B 5.9)
Item # 3 | ROPE LIGHTS AND ACCESSORIES
3.1. | Non Stock | 2 Wire Rope light Yellow | 1
3.2. | Non Stock | 2 Wire Rope light Blue | 1
3.3. | Non Stock | 2 Wire Rope light Hellfire | 1
3.4. | Non Stock | 2 Wire Rope light Dark Grey | 1
3.5. | Non Stock | 3 Wire Rope light Hellfire | 1
3.6. | Non Stock | 3 Wire Rope light Dark Grey | 1
3.7. | Non Stock | 2 Wire Rope light White (pearl) | 1
3.8. | Non Stock | 2 Wire Rope light Yellow | 1
3.9. | Non Stock | 2 Wire Rope light Blue | 1
3.10. | Non Stock | 2 Wire Rope light Green (Sea) | 1
3.11. | Non Stock | 2 Wire Rope light Orange | 1
3.12. | Non Stock | 2 Wire Rope light, Pink | 1
3.13. | Non Stock | 3 Wire Rope light White (pearl) | 1
3.14. | Non Stock | 3 Wire Rope light Red | 1
3.15. | Non Stock | 3 Wire Rope light Yellow | 1
3.16. | Non Stock | 3 Wire Rope light Blue | 1
3.17. | Non Stock | 3 Wire Rope light Orange | 1
3.18. | Non Stock | 3 Wire Rope light, Pink | 1
3.19. | Non Stock | 2 Wire Rope light Red | 1
3.20. | Non Stock | 2 Wire Rope light, Green | 1
3.21. | Non Stock | 2 Wire Rope light Blue | 1
3.22. | Non Stock | 3 Wire Rope light Red | 1
3.23. | Non Stock | 3 Wire Rope light Green | 1
3.24. | Non Stock | 3 Wire Rope light Blue | 1
3.25. | Non Stock | BI-310 - MINI-CONTROLLER FOR BI-COLOR CHAMELEON, 220V, FUNCTION: GRADUAL COLOR CHANGE, SPEED ADJUSTABLE (or compatible) | 1
3.26. | Non Stock | M1&M2 - 2M BLACK POWER CORD WITH POWER CONNECTOR FOR MINI FLEXILIGHT. W/2 PINS- ROUND PLUG (or compatible) | 1
3.27. | Non Stock | F1&F2 - 2M BLACK POWER CORD WITH POWER CONNECTOR FOR INSTANT FLEXILIGHT. W/2 PINS- ROUND PLUG (or compatible) | 1
3.28. | Non Stock | C1&C2 - 2M BLACK POWER CORD WITH POWER CONNECTOR FOR CHASING FLEXILIGHT, W/2-PINS ROUND PLUG (or compatible) | 1
3.29. | Non Stock | F2 - POWER CONNECTOR FOR INSTANT FLEXILIGHT (or compatible) | 1
3.30. | Non Stock | C2 - POWER CONNECTOR FOR CHASING FLEXILIGHT (or compatible) | 1
3.31. | Non Stock | M3 - SPLICE CONNECTOR FOR MINI FLEXILIGHT (or compatible) | 1
3.32. | Non Stock | F3 - SPLICE CONNECTOR FOR INSTANT FLEXILIGHT (or compatible) | 1
3.33. | Non Stock | C3 - SPLICE CONNECTOR FOR CHASING FLEXILIGHT (or compatible) | 1
3.34. | Non Stock | M4 - END CAP FOR MINI FLEXILIGHT (100PCS = 1 PKT) (or compatible) | 1
3.35. | Non Stock | F4 - END CAP FOR INSTANT FLEXILIGHT (100PCS = 1 PKT) (or compatible) | 1
3.36. | Non Stock | C4 - END CAP FOR CHASING FLEXILIGHT (100PCS = 1PKT) (or compatible) | 1
3.37. | Non Stock | M9 - EASY SPLICE CONNECTOR FOR MINI FLEXILIGHT (or compatible) | 1
3.38. | Non Stock | F9 - EASY SPLICE CONNECTOR FOR INSTANT FLEXILIGHT (or compatible) | 1
3.39. | Non Stock | C9 - EASY SPLICE CONNECTOR FOR CHASING FLEXILIGHT (or compatible) | 1
Item # 4 | STREETLIGHT POLES ( Specifications Par. B 8 )
4.1. | Non Stock | 4.2m Steel Pole | 10
4.2. | Non Stock | 5.7m Steel Pole | 10
4.3. | Non Stock | 7.2m Steel Pole | 10
4.4. | Non Stock | 10m Steel Pole | 10
4.5. | Non Stock | 11.5m Steel Pole | 10
4.6. | Non Stock | 14.5m Steel Pole | 10
Item # 5 | CURRENT TRANSFORMERS
5.1. | Non Stock | Current Transformer: 100/5 (32mm Ring) CL1 | 3
5.2. | Stock 02M011 | Current Transformer: 150/5 (32mm Ring) CL1 | 6
5.3. | Stock 02M012 | Current Transformer: 200/5 (32mm Ring) CL1 | 3
5.4. | Stock 02M013 | Current Transformer: 250/5 (32mm Ring) CL1 | 3
5.5. | Stock 02M031 | Current Transformer: 250/5 (36mm Ring) CL1 | 3
5.6. | Stock 02M014 | Current Transformer: 300/5 (36mm Ring) CL1 | 3
5.7. | Stock 02M015 | Current Transformer: 350/5 (36mm Ring) CL1 | 3
5.8. | Stock 02M016 | Current Transformer: 400/5 (36mm Ring) CL1 | 3
5.9. | Stock 02M018 | Current Transformer: 500/5 (65mm Ring )CL1 | 3
5.10. | Stock 02M019 | Current Transformer: 600/5 (65mm Ring) CL1 | 3
5.11. | Stock 02M020 | Current Transformer: 700/5 (65mm Ring) CL1 | 3
5.12. | Stock 02M021 | Current Transformer: 800/5 (65mm Ring) CL1 | 3
5.13. | Stock 02M022 | Current Transformer: 1000/5 (65mm Ring) CL1 | 3
Item # 6 | GENERAL
6.1. | Stock 02E001 | Electro Flasher Unit: Model R1F 230V (“Omron” or equivalent) | 12
6.2. | Stock 02F078 | Fluorescent Lamp Holder | 20
6.3. | Stock 02P001 | Pipe: 110mm X 6m Plasduct | 420
6.4. | Stock G0102D02 | Plugtops: 16a White Pvc | 6
6.5. | Stock K02S001 | Saddles: 20mm Galvanized | 100
6.6. | Stock K02S002 | Saddles: 40mm Galvanized | 100
6.7. | Stock 02P031 | Saddles: PVC 20mm | 10
6.8. | Stock G0102B11 | Earth Kit EAKT-1669 16-120mm Raychem/Tank (or equivalent) ) | 6
6.9. | Non Stock | Wooden Droppers (Gum): ± 30mm X 1.2m – Natural | 10
6.10. | Non Stock | Double Sided GDA Tape 12mmx25m | 2
6.11. | Non Stock | Double Sided GDA Tape 18mmx25m | 2
6.12. | Non Stock | Double sided GDA Tape 24mmx25m | 2
6.13. | Non Stock | Trotec Troply Laminates (Graflux or equivalent) White/red P206-206 | 2
6.14. | Non Stock | Trotec Troply Laminates (Graflux or equivalent) Blue/white M512 | 2
6.15. | Non Stock | Trotec Troply Laminates (Graflux or equivalent) Black/White SW019 | 2
6.16. | Non Stock | Trotec Troply Laminates (Graflux or equivalent) Yellow/black P744-206 | 2
6.17. | Stock K02P001 | Pipe: 40mm x 4m Conduit Bosal Galv. | 10
6.18. | Non Stock | Guy Grips – AL Blue 1250mm | 2
6.19. | Non Stock | Guy Grips – AL Yellow 920mm | 2
6.20. | Non Stock | Guy Grips – AL Green 1100mm | 2
6.21. | Non Stock | Double Switch Socket | 10
6.22. | Non Stock | Single Switch Socket With 3 X 5a Euro Sockets | 10
6.23. | Non Stock | 1L 2x4 Switch Complete With Cover | 10
6.24. | Non Stock | 2L 2x4 Switch Complete With Cover | 10
6.25. | Non Stock | 3L 2x4 Switch Complete With Cover | 10
6.26. | Non Stock | 4L 2x4 Switch Complete With Cover | 10
6.27. | Non Stock | PVC Wonder Box 2 X 4 | 20
6.28. | Non Stock | PVC Wonder Box 4 X 4 | 20
6.29. | Non Stock | Connector Blocks 10 Amp | 50
6.30. | Non Stock | 4Ft LED lamps | 10
6.31. | Non Stock | 5Ft LED lamps | 10
6.32. | Non Stock | 85W E40 Spiral E/saver | 10
6.33. | Non Stock | Earth Leakage 3 Pole + N 6kA 80A - SF36C | 2